FIRE SAFETY RISK ASSESSMENT FOR KINGSTARN)

People at risk at Kingstarn include both guests and employees of either Cumbrian Cottages or the Owners of Kingstarn

People especially at risk: The most vulnerable guests are young children, the elderly and those with mobility difficulties, who may be unable to escape without assistance.

MINIMISING THE RISK OF FIRE

- Kingstarn is a No Smoking property.

- There is a fire alarm installed in the hall, with an alarm bell on the first floor landing, an alarm button in the kitchen, and smoke alarms in the dining room, first floor landing and second floor landing.  The system is maintained by Westmorland Fire and Security Services.

- All furniture and mattresses conform to modern Fire Safety Regulations (2001 onwards)

- Lights should have the wattage bulb fitted appropriate to the shade – take care to replace like with like when replacing bulbs

IN CASE OF A FIRE

If you cannot fight a fire with extinguishing materials please follow this procedure:

- shout a warning to raise the alarm

- close all doors behind you to minimise the spread of the fire

- evacuate the building through the escape routes (if the electric power is out, there are torches in the under-stairs cupboard off the dining room)

- account for all occupants

- dial 999 to call the fire brigade – use your mobile phone or the pay-phone in the dining room – the pay-phone does not require coins to make emergency calls.

- alert the neighbours

If all major escape routes become blocked:

  - gather everyone together into one room and close the door

  - place towels or bedding along the bottom to seal the gap.

  - open a window, keep close to it to breathe the fresh air

  - raise the alarm to neighbours.

ROOM BY ROOM RISK ASSESSMENT

| Room | Fire Hazards | Evaluation of Risk and Risk Reduction | Information and Steps YOU can take to reduce fire-risk | Escape Route |
| --- | --- | --- | --- | --- |
| GROUND FLOOR |  |  |  |  |
| Hall. | None identified. | Low Risk | Keep the doorway clear for emergency exit. | .Through the front door. Guests should be aware where they have put the door keys |
| Sitting room. | Electric fire TV Lights and other electrical appliances | Moderate Risk. | Do not drape clothes over the electric fire Do not place combustible materials near to the fire. Turn off TV at the plug at night | Through the front door via the hall OR through one of the sash windows into the garden |
| Dining room and under-stairs cupboard | Candles. Under-stairs cupboard | Low risk | If candles are used, ensure they are in candle sticks and on a safe surface Do not store hazardous material in under-stairs cupboard. Westmorland Fire & Security visit annually to check that the smoke alarm is working | Through the front door via the hall OR Through the back door via the kitchen OR Through one of the two sash windows into the street |

| Kitchen | Oven/ Grill/ Hob Toaster/ Microwave | Moderate Risk Fire Blanket and fire extinguisher | Follow normal safety procedures when cooking, especially with heating cooking oil. Turn appliances off when not in use. Keep the doorway clear for emergency exit . | Through the back door. Guests should be aware where they have put the door keys |
| --- | --- | --- | --- | --- |
| Landing and Stairs | None identified | Low Risk Smoke alarm fitted | Westmorland Fire & Security visit annually to check that the smoke alarm is working | Down the stairs, through the hall and out of the front or kitchen door |
| FIRST FLOOR |  |  |  |  |
| WC and bathroom | None identified | Low Risk |  | Down the stairs, through the hall and out of the front or kitchen door |
| Double bedroom | None identified | Low Risk | There is a TV point fitted. If guests bring a TV, turn off at the plug when not in use | Down the stairs, through the hall and out of the front or kitchen door |
| Twin bedroom | None identified | Low Risk |  | Down the stairs, through the hall and out of the front or kitchen door |
| Landing and Stairs | None identified | Low Risk Smoke alarm fitted. | Westmorland Fire & Security visit annually to check that the smoke alarm is working | Down the stairs, through the hall and out of the front or kitchen door |

| SECOND FLOOR |  |  |  |  |
| --- | --- | --- | --- | --- |
| Double bedroom | None identified | Low Risk | There is a TV point fitted. If guests bring a TV, turn off at the plug when not in use | Down the stairs, through the hall and out of the front or kitchen door |
| Twin bedroom | None identified | Low Risk |  | Ditto |
| Nursery room | None identified | Low risk | Use the safety plugs provided, in the socket | Ditto |
| WC & shower room | None identified | Low Risk |  | Ditto |
| THIRD FLOOR |  |  |  |  |
| Attic room | TV Electric lights Electric heater Owners’ cupboards | Moderate Risk | Turn TV and video player off at the wall when not in use Turn off electric heater at the wall when not in use. Do not leave it on a temperature setting. Do not place combustible materials over it Do not use candles. (Owners only) Do not store combustible materials in the under-eaves cupboards | Down the stairs, through the hall and out of the front or kitchen door |

RJR 23/11/07